Comments for the Draft Operability RIS August 25, 2004, Workshop – AcroServices
Page 23

Draft RIS Comments on
“Operability Determinations and Resolution of Nonconformances of 
Structures, Systems and Components”
for the August 25, 2004, Workshop

Table of contents

1General


1Section 1


1Section 2


2Section 3


3Section 4


6Section 5


11Section 6


11Section 7


17Appendix A


18Appendix B


18Appendix C




These comments are consolidated from:

· Larry Grime of L. A. Grime and Assoc., Inc. AcroServices comments identified as LG1 through LG7. The numbers are the numbers as submitted to the NRC 

· James Kilpatrick of Constellation Nuclear comments identified with a JK prefix followed by 5, 7,-G or -S for the section number, general or specific comments and with the original comment number. The numbers are the numbers as submitted to the NRC.

· Other typical industry comments identified with OTHER followed by an assigned sequential number. These comments are from several industry individuals. They have not necessarily been submitted to the NRC.

The comment sequence has been modified to follow the draft RIS presentation sequence. The AcroServices and Constellation Nuclear comments were submitted to the NRC for use during the August 25, 2004, draft RIS operability guidance workshop. Mr. Kilpatrick stated, “All of these comments are provided to support active dialog at next week's NRC Workshop.”

General

JK-G-1) The terms 'equipment' or 'systems/ components'  are used through out this document. I believe the term System, Structure, Component (SSC) is more appropriate and encompassing and should be used instead. 

Section 1

No comments

Section 2

OTHER – 1) Is the scope of non-TS SSCs limited by the scope section (2.0) -if it is, this is not clear throughout the document.


JK-S-1) Section 2.0- items (i) & (iii) - 10CFR50.49 is listed as one of the conditions of item (iii). In the context of (iii), the SSCs applicable to (iii) are those that are EQ. In this same Section (2.0), the SSCs applicable to Item (i) are the same EQ SSCs, as the definition provided in item (i) is the definition contained in the 50.49 rule itself. Why are both items (i) and (iii) applicable to 50.49 SSCs ? What is the difference between item (i) and (iii) as they relate to EQ SSCs?  It is recommended that the reference to 10CFR50.49, in Item (iii), be deleted if a quantifiable distinction between EQ SSCs, as they relate to item (i) and item(iii), cannot be determined/provided.

Section 3

JK-S-2) Section 3.2 - 1st sentence- Should be re-worded to read...."Design Basis information, defined by 10CFR50.2, AS documented in the most recent UFSAR." This sentence need to recognize that each plant's 50.2 Design Basis Information is AS reflected in it's UFSAR and that this information may or may not conform to NEI 97-04/Reg. Guide 1.186. The current wording appears to be differentiating between 50.2 design bases information and information in a licensee's UFSAR. Until Reg. Guide 1.186/NEI 97-04 came into existence, the only place 50.2 Design Bases information resided was in the licensee's UFSAR. With the issuance of Reg. Guide 1.186/NEI 97-04, situations can arise where NRC questions a licensee's UFSAR Design Bases information as not meeting the NEI 97-04 definition thereby concluding that the licensee's UFSAR does not contain the Design Basis information necessary to meet 50.2.

JK-S-3) Section 3.3; 2nd para., last sentence- The term 'safety function' is used.   'Specified safety function' should be used consistently throughout this document. Other Sections experiencing this nomenclature issue are : 

Section 3.4; The term 'designed function(s)' should be changed to 'specified safety function'  
Section 3.4;: next to last sentence, specified function is used. This should read 'specified safety functions'.  
Section 3.5; 2nd para in various places, specified function is used. This should read 'specified safety function(s)'..  
Section 4.4; Table- The term 'function' is used. This should read 'specified safety function(s)'..   
Section 5.6, 1st sentence- The term 'specified function' should read 'specified safety function(s)'.   
Section 5.6; 2nd bullet- the term 'safety function' should read 'specified safety function(s)'    
Section A.2; 1st para. the term 'safety functions' should read 'specified safety functions' . 

OTHER – 2) Page 4, section 3.4 - Suggest removing the sentence, "The designed function is not limited to either the function described in the UFSAR or 10 CFR 50.2."

This statement is too broad as written. Many plant components have design functions not related to supporting a safety function.  They should not be included in this guidance.

OTHER – 3) Section 3.4 - Functionality - 
The following sentence from this section needs to be clarified (assume industry does not want such an open-ended scope):  "The designed function is not limited to either the function described in the UFSAR or 10 CFR 50.2."


Does the industry support application of the "functionality" concept throughout this revised guidance.  Use of the term by the NRC is for SSCs not explicitly included in plant TS.  While this concept is implied in the current guidance it is still possible that this is an increase in work scope for licensees (the concept of whether a non-TS SSC is functional or not is more likely to be handled within the corrective action process than a more formal operability determination process).


LG-4.
The RIS should not use the term ‘Specified Function(s).’ The Section 3.5 definitions make it clear that some specified functions are not safety functions, but requires an SSC that cannot perform its specified functions be declared inoperable.

I know of no regulatory basis to require that all specified functions as defined in the draft RIS would require an inoperable declaration. If the function is a safety function, the inability to perform the function should mean the SSC is degraded and if there is no alternate acceptable means to accomplish the function the affected SSCs would be inoperable. For specified functions that are not also safety functions, there need to be a regulatory requirement for the function before the RIS should apply.

The recommended solution is to only define the term safety function and to make it clear that references to function throughout the document refer to a safety function. 

The statement about a reliability reduction triggering an operability determination should be characterized as a degraded condition example. 

OTHER – 4) Section 3.5 - Specified Safety Function and Specified Function –

Consistent with section 3.4 guidance the NRC is broadening the scope of this process to include non-safety functions - does the industry support this????


Section 4

OTHER – 5) Section 4.1 addresses operability and the passing of the surveillance.
The use of CLB is indeed appropriate except when some design piece of paper steps in the way.  Most of the situations are addressed specifically in the Inspection Manual, but, it would seem that passing the surveillance serves operability in all cases that are not specifically addressed.

OTHER - 6) Section 4.1 - Review Activities
What do the following NRC words mean and does the industry agree with this words???  "When any processes indicate a potential degraded or nonconforming condition, the plant must assess the operability of any affected SSCs.  An example could be a TS surveillance that passed the given test, but the results exhibited a degrading trend."

JK-S-4) Sections 4.2 and 4.3- conditional language (i.e., .."potentially affecting operability or functionality") should be removed. This phrase is not relevant in determining if an item is degraded or non-conforming. Seeing that these are definitions, I don't believe it is the NRC's intent to create new criteria (i.e., does the degraded/non-conforming condition affect operability) to determine if the condition itself is a degraded /nonconforming condition.

JK-S-5) Section 4.3; 2nd bullet- Revise to read... "CLB requirements" instead of "UFSAR requirements". Te definition of CLB  is larger than the UFSAR description. This bullet, albeit an example, should reflect the broad scope of what is a non-conforming item.

LG-6.
The Section 4.4, “Fully Qualified” discussion could represent an unintended change in the qualification concept. The table in this section should have revisions to clarify margin treatment.

The discussion adds considerable emphasis to margin. Since margin ‘ownership’ is often confused in practice, I suggest the table always use the term ‘required margin’ when referring to margins that trigger operability determinations if not met. I suggest deleting the table row that refers to margin. The emphasis should be on the ability of the SSC to perform its safety function. It’s not clear what margin this refers to. The row implies that a degradation that cuts into the margin, but does not reach the failure point can always be considered operable or functional but degraded. While this may be true for nearly all cases that refer to conservatism added by a licensee, it is much less likely to be true for all instances of a reduction in a margin required by regulation, tech specs or a licensee commitment. 

The transition from conservatism added by the licensee to the required margin is an example of the degraded condition threshold. However, there could be rare cases where the SSC demonstrates an unexpected decline rate that potentially affects operability or functionality even though it has not yet degraded below the required margin.

One full qualification perspective is that an SSC need not be operable to be fully qualified. This is partially based on the discussion in GL 91-18, Rev. 0, Section 5.3, “Deal with Operability and Restoration of Qualification Separately.” For example, if the diesel generator is taken out of service for corrective maintenance, preventative maintenance, testing, or if a required support safety function is not available, the diesel generator is inoperable. However, the diesel generator has not lost its qualification.

This perspective would even consider components that fail and are declared inoperable pending corrective maintenance be considered to remain fully qualified. This ‘Full Qualification’ refers to the SSC pedigree not its current condition. Operable and inoperable refers to the current condition. For the guidance the term to use here might be ‘Fully Operable’ or ‘Unconditionally Operable.’

The other perspective is that ‘Full Qualification’ describes SSCs that are operable with no degradation or nonconformance in any way threatening that operability. This appears to be the intended definition in the draft RIS. 

Whichever, perspective is intended should be made clear. 

There are seven possible states of operability:

1.
Operable with no degradation or nonconformance (The second full qualification perspective would say this is full qualification.)

2.
Degraded but operable 

3.
Nonconforming but operable 

4.
Degraded and nonconforming but operable 

5.
Degraded and inoperable 

6.
Nonconforming, nonconforming and inoperable 

7.
Degraded, nonconforming and inoperable

Recommended change:

4.4 Fully Qualified 

An SSC is considered fully qualified when it conforms to all aspects of its CLB, including meeting all applicable codes and standards, design criteria, safety analyses assumptions and specifications, and licensing commitments. Operation with fully qualified SSCs ensures that safety margins are maximized. 

The table below illustrates the terminology used to describe the status of SSCs when degraded or nonconforming conditions are identified and evaluated. Operable refers to SSCs that are in TS and functional refers to those SSCs that are not in TS. For SSCs not in TS, the assessment of functionality and the resolution of degraded or nonconforming conditions are part of an effective licensee problem identification and corrective action program. 

	State of Qualification
	SSCs in plant TS
	SSCs not in TS

	Fully Qualified
	Operable
	Functional

	Condition exists, but only affects margin
	Operable but degraded
	Functional but degraded

	Condition exists affecting specified safety function(s), but SSC deter-mined able to per-form the function
	Operable but degraded or nonconforming
	Functional but degraded or nonconforming

	Condition exists affecting specified safety function(s), but SSC deter-mined not able to perform the function
	Not Operable
	Not Functional


The SSCs defined in Section 2 are designed and operated, as described in the CLB, to include design margins and engineering margins of safety to ensure, among other things, that some loss of quality does not mean immediate failure. The CLB includes commitments to specific codes and standards, design criteria, and some regulations that also dictate margins. Many licensees add conservatism so that a partial loss of quality does not affect their commitments to the margins. 

The loss of conservatism not taken credit for in the safety analyses and not committed to by the licensee to satisfy licensing requirements does not require a system to be declared inoperable. When non-credited conservatism losses are expected during normal plant operation, such losses are not considered degraded conditions. For example, a pump with declining capacity due to wear becomes degraded when its capacity decline could affect operability or functionality. A pump that fails to meet a capacity requirement must be considered degraded. A pump showing a declining trend that has the potential to reduce its capacity below the capacity requirements before the next surveillance should also be considered degraded. However, if the decline in capacity is consistent with the assumptions considered in testing and maintenance programs, the pump remains operable. All other losses of quality or margins are subject to a prompt operability determination and corrective action. 

Section 5

JK5-Section 5 

The 'timing' discussions, in Sections 5.2 and 5.3, are open ended, in that, the immediate/prompt determinations have no comprehensive 'timing windows' specified. In addition, Section 5.3 alludes to the fact that every immediate determination MUST have a follow-on prompt determination. In many cases, a prompt determination is not necessary. Section 5.3 should allow for this reality. I have various comments and recommended rewording for Section 5 paragraphs, are as follows:  

JK5-1) Section 5.0; 1st sentence- This sentence is a bit unclear, in that it says an operability determination should be made whenever operability is called into question. Consistent with Section 1.0, this sentence should read.. "Operability determinations are appropriate whenever a review, TS surveillance, or other activity identifies the existence of a degraded or nonconforming condition, calling into question an SSC's ability to perform it's specified safety function".

JK5-2) Section 5.2; 1st sentence (also Section 4.1; next to last sentence and Section 1.0; 6th paragraph; 1st sentence)- Delete the word 'potential'/ 'possible' . Consistent with the intent  of this RIS (See Section 1.0, 2nd para.), 'operability' is to be considered  for identified degraded /non-conforming conditions NOT potentially/possibly degraded / nonconforming conditions.  

JK5-3) Section 5.2; 2nd sentence- Reword to read...."In cases where a 'degraded' condition is discovered, where the level of degradation is immediately quantifiable (e.g., loss of motive power, etc.), it is expected that the decision can be made immediately. In other cases, such as the discovery of a non conforming condition, where the impact on 'operability' is not as obvious, other groups, such as Engineering or Licensing may be required to provide input into the immediate determination. In these cases, it is expected that the decision can usually be made within 24 hours."

JK5-4) Section 5.2; 2nd sentence- Delete the word 'complete' from this sentence. 'Complete information' is undefined and, as discussed in Section 5.4, not required to be obtained at any point in the operability determination process. 

JK5-5) Section 5.2, Last sentence- What relevance does the last sentence have since, within 24 hours, the licensee is already into the Section 5.3 'Prompt Determination' process? In other words, why revise the initial Immediate Determination once your into the next step of the process (i.e., Prompt determination), unless the concept discussed in comment #6, below is adopted? Then, revisiting an immediate determination would be appropriate. 

JK5-6) Section 5.2- somewhere in this section, Section 5.8 should be referenced so as to provide the expectations for documentation of this immediate determination.

JK5-7) Section 5.3; 1st sentence- Reword to read, "Subsequent to the immediate determination, a prompt determination may also be required to be made by licensed operators. The need for a prompt determination is predicated on the licensed operators confidence that the immediate determination provides the information and rationale necessary to support the reasonable expectation that the SSC is operable. If, after the immediate determination has been completed, additional research or investigation is required, a prompt determination is expected to be completed."  

JK5-8) Section 5.3; 3rd sentence- Reword to read " For SSCs associated with TS, the completion times, contained in the TS, provide reasonable expectations for the completion times of the prompt determination. For SSCs not associated with TS, the timing, for completion of the prompt determination, should be based on the confidence the licensee has that the immediate determination provides a reasonable expectation of operability/functionality and that the prompt determination process, when completed, will further support this immediate determination.

JK5-9) Section 5.3; 5th sentence;- the sentence discussing.. The safety significance of the SSC may be used "as part of a reasonable safety justification" to extend the completion time- It is not clear what is meant by the phrase...'as part of a reasonable safety justification'. This sentence alludes to a licensee not only having to document his prompt operability determination but also documenting the basis for the time he allotted himself for completing the operability determination. It is recommended that this sentence be deleted. The comment #7 (above) should be adopted as it provides clear and concise language and expectations on timing. 

JK5-10) Section 5.4; 1st sentence- Should be reworded to read- " When a licensee discovers a degraded or non-conforming condition, where operability of an SSC is questioned....". This rewording reflects the fact that, within the context of this RIS, SSC operability is only questioned when a D/NC condition is first discovered. The current wording alludes to other situations where operability may be called into question, even outside of the corrective action process. 

JK5-11) Section 5.4; 1st sentence- should be reworded to read "........,the operability determination process (i.e., Section 5.0) must be predicated..." This rewording reflects the fact that the Section 5.4 discussion, of 'reasonable expectation', applies to both the Immediate and Prompt Determinations. 

JK5-12) Sections 5.5; 1st and 2nd bullet- conditional language (i.e.,..where performance/qualification of equipment is called into question) should be deleted. This phrase is not relevant in determining if an item is degraded or non-conforming. Seeing that Degraded and Nonconforming are defined, I don't believe it is the NRC's intent to create new criteria (i.e., does the degraded/non-conforming condition affect operability) to determine if the condition itself is a degraded /nonconforming condition. 

JK5-13) Section 5.5, 3rd,4th and 5th bullets- These are examples of D/NC conditions (bullets 1 and 2). They should be presented as such and not as conditions other than or in addition to bullets 1 and 2.

LG-7.
Simplify Section 5.5, “Circumstances Requiring Operability Determinations” by limiting the need for an operability determination to degraded and nonconforming conditions.

These definitions now include the phrase ‘potentially affecting operability or functionality.’ This is a needed improvement. I noticed a minor confusion risk with the terms as used in Section 5.5. The reference to these conditions adds ‘where performance or qualification is called into question.’ This implies that not all situations that meet the degraded or non-conforming condition definition require an operability determination. 

Recommended change in Section 5.5:

· Discovery of degraded conditions of equipment where performance is called into question. 

· Discovery of nonconforming conditions where the qualification of equipment ( such as conformance to codes and standards) is called into question. 

The other bulleted items in this section can be cited as examples of degraded and nonconforming conditions. As noted previously, this section should also make it clear that not all degraded and nonconforming conditions require a documented operability determination. 

LG-1.
The RIS should make it clear that in some cases prompt operability determinations will receive additional analysis

The strict prompt operability determination completion time requirements limit licensees’ ability to properly address relevant issues and complete confirmatory analysis. 

The scope Section 5.6 and Draft Assistance Navigator identifies 17 items that the prompt determination must address. Several of these are compound items that suggest a prompt operability determination may need to address 20 or more items. The topics include vastly different information that one individual may not be able to address without collaboration with others. 

The Assistance Navigator hints at determinations that require ‘evaluation ongoing, continuous and proceeding towards a final resolution,’ but Section 5.3 states ‘In all cases, the operability determination should be completed within the time frames discussed above.’ 

As an example, a licensee discovers that a support system is degraded to less the accident analysis input value. A cognizant engineer determines within 24 hours that the reduction is extremely unlikely to impact the analysis results, but recommends rerunning the analysis to verify various scenarios. The analysis requires vendor support and normally takes two weeks or longer for the analysis and reviews. Is this considered analysis proceeding towards a final resolution? As written the RIS pressures the licensee to make the final call without rerunning the analysis. 

The RIS must make it clear that ‘Reasonable Expectation’ applies to both immediate and prompt determinations. This could be with a simple statement to that effect, or with a new section to discuss ‘Final Determinations.’ 

Although it is not discussed, the nonconforming condition example related to operating experience properly notes that the nonconformance starts when the licensee determines that they have a design inadequacy, not necessarily when they receive industry information suggesting the inadequacy may exist. The operating experience program should take responsibility for expediting the analysis to demonstrate if the design inadequacy exists. 

OTHER - 7) Page 10, section 5.6, Suggest removing the following bulleted item, "An SSC's operability requirements extend to its necessary support systems regardless of whether the TSs explicitly specify operability requirements for those support systems".  

This is true in a general sense, but that does not necessarily mean that when a support system that has a TS LCO associated with it goes inop, the supported system has to be declared inop.  In fact, LCO 3.0.6 states explicitly that it does not, so long as SFDP verifies that a loss of function is not involved." (I refer to LCO 3.0.6 in Standardized TS plants).

OTHER - 8) Section 5.6 - Scope of Determinations...
Is the following bullet "Determine the safety function(s) performed by the equipment" inconsistent with the broadening of scope beyond safety related elsewhere in the doc (see section 3.5)???? 

OTHER - 9) Does the industry agree with the following statement "An SSC's operability requirements extend to its necessary support systems regardless of whether the TSs explicitly specify operability requirements for those support systems."????


OTHER - 10) In general, our deterministic licensing basis does NOT include consideration of the occurrence of multiple (simultaneous) design basis events unless specifically delineated (LOCA/LOOP). Therefore, what is the intent of the following statement "The operability of necessary support systems does not include consideration of the occurrence of multiple (simultaneous) design basis events."?????


JK5-14) Section 5.6;  Various places, in this paragraph, reference is made to this Section (5.6) as only applying to the 'prompt' determination process. The concepts and considerations of 'operability', as discussed in Section 5.6, apply to both the 'immediate' and 'prompt' determination processes. The concepts and considerations are the same, the only difference would in level of documentation and review rigor. Please reword this paragraph to reflect this fact. 

JK5-15) Section 5.6; 1st sentence- Change the end of this sentence to read"...consistent with its 10CFR50.2 design bases AS described in the UFSAR". This sentence needs to recognize that each plant's 50.2 Design Basis Information is AS reflected in it's UFSAR and that this information may or may not conform to NEI 97-04/Reg. Guide 1.186. The current wording appears to be differentiating between 50.2 design bases information and information in a licensee's UFSAR. Until Reg. Guide 1.186/NEI 97-04 came into existence, the only place 50.2 Design Bases information resided was in the licensee's UFSAR. With the issuance of Reg. Guide 1.186/NEI 97-04, situations can arise where NRC questions a licensee's UFSAR Design Bases information as not meeting the NEI 97-04 definition thereby concluding that the licensee's UFSAR does not contain the Design Basis information necessary to meet 50.2.  

JK5-16) Section 5.6- last bullet- should read.." The operability or functionality of necessary support systems...."     

JK5-17) Section 5.6; 8th bullet - While the term 'Compensatory Measure' is NOT specifically used here ,this bullet, I believe, alludes to Compensatory  Measures. The language ..."any additional actions or measures" should be changed to simply 'Compensatory Measures ', for consistency within the document. 

JK5-18) Section 5.6; 8th bullet- A reference is made to IEN 91-78. I don't believe IEN 91-78 applies here. I believe NRC means to reference IEN 97-78. Regardless, IEN 97-78 (the applicable parts) have been incorporated into Section C.5.  Referencing IEN 97-78 here is confusing and misleading. Most of IEN 97-98 is no longer applicable, as it was written around the previous 50.59 rule.  Instead, a reference to Section 7.3 and/or Appendix C.5 should be made here, in Section 5.6 , for further details on Compensatory Measures. IEN 97-98 contains antiquated language (especially 50.59 related language) and should NOT be referred to in this document.

OTHER - 11) Page 10, section 5.7.  The first paragraph of this section may conflict with SR 3.0.3 (standard plants).  This SR allows a presumption of operability for a missed surveillance and allows delay of the performance of the surveillance for 24 hours, or until the next required performance provided a risk analysis is done which supports the delay.  This is meant for the exact case of where the licensee does not have evidence that "...the activity was in fact successfully accomplished".

LG-5.
The new Section 5.8, “Documentation,” needs to make it clear that not all operability determinations require documentation. Determinations that an SSC is inoperable should require no operability related documentation. In some cases the immediate determination should be the final determination. 

When a component fails and is declared inoperable a documented operability determination should not be required. Sections 5.5, 5.6 and 5.8 should make this clear. The RIS should also make it clear that some operability determinations can be final based on the immediate determination. Some licensees may document some operability determinations in condition reports and reserve separate documentation only for operability determinations requiring extensive engineering or licensing input. The RIS should recognize that operability determinations may take various forms and have different content. 

Since the specific condition rather than the fact that operability was called into question determines the extent of the operability determination, the industry should not rely on operability determinations to determine the condition extent. Every SSC failure, degradation or nonconformance could raise a condition extent concern, but not all situations will have an operability determination. The condition recognition program is a proper place to capture extent of condition concerns. Licensees may at their option resolve such concerns in one operability determination or use a separate process for the other SSC that may be at risk. 

OTHER - 12) Page 11, section 5.8.  What type of documentation would suffice for the prompt determination?  Would the licensee's corrective action program be acceptable?

JK5-19) Section 5.8, 2nd para.- Since the expectation here is that the 'Prompt Determination' should be available for inspection, does this mean that the 'Immediate Determination' DOES NOT need to be available for inspection ?     

JK5-20) Section 5.8, 3rd para.-  Delete the word 'Qualification'. Qualification, in this document, implies 'full qualification/ fu fully qualified (Section 4.4) and should be discussed as such , not within the context of the documentation of an operability determination. The term' Qualification' in the context of the 'use of engineering judgment' is ambiguous.   

JK5-21) Section 5.8; 3rd para. Delete the term 'safety significance' as it has no relevance to the 'documented operability determination or use of engineering judgment, being discussed in this section. The concept of 'safety significance' is discussed in Section 5.3, dealing with the timing of when prompt operability determinations need to be completed. The term does not relate to the documented operability determination itself.

Section 6

JK-S-6) Section 6.2 -For example-.... This is NOT a good example of 'operable but nonconforming'. Only EQ Guys would understand the relevance of this example.  A better, more universally relevant, example is needed here that will be relevant to the masses.

JK-S-7)Section 6.2.1; 2nd para,last sentence- A licensee's corrective action program has three actions it can take to resolve a degraded or nonconforming condition (See Section 7.4). This sentence implies that 'restoration to full qualification' is the only option available to the corrective action program to resolve the issue. This is not correct.  

JK-S-8) Section 6.3- last 2 paras- Delete the reference to EQ JCOs and the use of NRC Generic Letter 88-07. See comment #17 below for the rationale.

Section 7

OTHER - 13) Section 7.2 - Timing of Corrective Actions - 
Given the expansion of scope to non-safety related SSCs, does the industry agree with the following statement "If the corrective actions were not taken at the first available opportunity, then the inspector should consider the compensatory measures as defacto design changes to the facility."  With tight budgets and shorter outages licensees should retain an appropriate flexibility as to scheduling of corrective actions.


The last paragraph of section 7.2 requires additional documentation in the corrective action system if a corrective action can not be implemented during the next refueling outage.  Given the unclear scope of SSCs that this would apply too, is this more than the industry wants to commit to?????


OTHER - 14) Does the industry agree with footnote 4 in section 7.2????


JK7-1) Section 7.2,; 1st para. 2nd sentence- NRC appears to be establishing, in this sentence, specific intermediate expectations of the corrective action process,  in that, an 'extent of condition' review is expected to be completed for all 'Conditions adverse to Quality'(undefined term in the RIS and lacks context within the RIS). 'Condition adverse to Quality'(CAQ) is a term specified in 10CFR50,Appendix B, Criteria XVI, however, this term is not defined or used in any other place in RIS 2004-xxx.It is not clear what NRC expectations are being conveyed here. Completing an 'extent of condition' review,  if warranted by the significance of the degraded/nonconforming condition, is typically part and parcel of the identifying and completing corrective actions in a timely manner. What purpose is there to pick an arbitrary intermediate point within the corrective action process, to state 'the obvious', unless there is another, less obvious, message being broadcast with this sentence. In any case, NRC should NOT be establishing specific 'intermediate' expectations of the corrective action process (i.e., complete an 'extent of condition' review) within this RIS. The entire process of.. 'completing corrective actions is a timely manner commensurate with the safety significance of the issue'.., should be the yardstick used to judge timeliness. It is recommended that this 2nd sentence be deleted as it adds no specific value to the message being conveyed in the paragraph and, more importantly,  to avoid future confusion and misinterpretations.

JK7-2) Section 7.2- 2nd para. Last sentence- What is meant by this last sentence?? What compensatory measures are being discussed here ??? What's the definition of a 'defacto design change' ???  Compensatory measures are discussed in Section 7.4 and Appendix C.5. In Section 7.4, 50.59 is applied to the compensatory measures that involve a temporary procedure or facility change'. In essence, Section 7.4 and Appendix C.5 has already established that certain 'compensatory measures are facility changes". It is unclear what message is being sent to the inspector here, with this sentence.  Please clarify.

JK7-3) Section 7.2; 2nd and 3rd para.- 'Timeliness'  of corrective action, per 10CFR50,Appendix B, is SUPPOSE to be commensurate with the SAFETY SIGNIFICANCE of the issue, however through out these two paragraphs, these is minimal mention, discussion or written NRC expectations on how/what 'safety significance' factors should be applied to determine the timeliness of corrective actions. In these two paragraphs the NRC is 'dictating' prescriptive corrective action timing expectations, based mainly on NRC expectations and NOT on 'safety significance' of the specific D/NC condition. 'Safety significance needs to be factored into the NRC expectations to be consistent with 10CFR50,Appendix B.  

JK7-4) Section 7.2; 3rd para.- The NRC, in this section, has 'raised the bar' on their expectations, as compared to the current revision of G/L 91-18. In particular, the NRC expectations, dealing with the documentation 'expected' to be produced by the licensee, when delaying completion of corrective actions past the next refueling outage, is onerous and time consuming with little, if any, added value. The current version of 91-18, rev.1; Section 4.3 simply states "The NRC expects time frames longer than the next refueling outage to be explicitly justified by the licensee as part of the deficiency tracking documentation." This has been replaced with a prescriptive and detailed 'laundry list' of specific items to be addressed and management views to be conducted of said 'extension'  documentation. In this prescriptive and detailed list of items to be addressed, conditional language (i.e.,  'all', 'thorough', 'detailed', 'appropriate') that is vague and ripe for various interpretations and future misunderstanding between the licensee and the regulator, is used. It is recommended that this entire paragraph be DELETED in its entirety and replaced with the language from 91-18, rev.0, Section 5.6 and 91-18,rev.1 Section 4.3.  

JK7-5) Section 7.2, 2nd para., 1st sentence- The NRC has revised this sentence from the current version of 91-18. In this revision, the NRC seems to be establishing new criteria to be addressed, dealing with the timeliness of corrective actions. In particular, The term 'safety significance', in the current version of 91-18, embodied 'effects on operability' and 'significance of degradation'. In the proposed version, 'safety significance' is presented as a separate item from 'effects on operability' and 'significance of degradation'. Please clarify this 'changing' NRC expectation.

JK7-6) Section 7.2, 2nd para.; 2nd sentence- The proposed language implies that the NRC MAY (or may not) accept a licensee's justification for additional time to implement corrective actions, because of time required for design, review, approval,  procurement, etc., with no additional discussions provided on what factors NRC would use to judge the acceptability of said justifications. This type of 'conditional language' should be avoided as it is vague and ripe for various interpretations and future mis-understanding between the licensee and the regulator. Recommended re-wording is as follows: " Factors to be considered, when implementing corrective actions,  are the amount of time..."    

JK7-7) Section 7.2, 2nd para.3rd and 4th sentences-  The NRC expects corrective actions to be completed ..'at the next on-line maintenance window or outage of sufficient duration to adequately plan and implement the proposed corrective action.'               The NRC also expects that, if corrective actions are 'extensive', the corrective actions are to be completed at the next refueling outage. These NRC expectation have been raised, from those in the current version of 91-18. What's implied, with these two NRC expectations, is that the 'next' on-line maintenance window (of sufficient duration) or the 'next' outage (of sufficient duration) will occur BEFORE the next refueling outage. This may or may NOT be the case, depending on when the D/NC condition was identified in the fuel cycle, the length of time it takes to identify corrective actions, etc. In many cases, the 'next' maintenance window of sufficient duration or 'next' outage of sufficient duration maybe a number of refueling outages away. It is recommended that the 3rd sentence be the NRC 'new' expectation and the 4th sentence be deleted, so as to eliminate future confusion and misinterpretations by licensees and inspectors.

JK7-8)Section 7.2;3rd paragraph - The NRC expectation..'that corrective actions be completed no later prior to the next refueling outage, hasn't changed from the current version of 91-18, however, in the 1st sentence of the 3rd paragraph, NRC appears to create a new, and more onerous expectation that, it should be an 'unlikely' situation where licensees go beyond the next refueling outage to complete corrective actions. This is an unreasonable expectation. While it is appropriate for NRC to have a general expectation on when a licensee should complete corrective action, to suggest/imply how 'likely' or 'unlikely' it is, for a licensee to meet this NRC expectation, is not reasonable, as the range and variation of D/NC conditions is vast in a nuclear power plant. This language should be deleted.  

JK7-9) Section 7.2, 2nd Para.; 4th sentence- the term 'extensive' is undefined. This conditional language' should be avoided, as it leaves it up to the inspector to define what 'extensive' is.

JK7-10) Section 7.3(General)- This discussion of 'Compensatory Measures' is located in the Corrective Actions' section ,however the compensatory measures discussed are measures to be taken, as part of the operability determination process( i.e., Section 5.6; 8th bullet). There should be NO compensatory measures associated with the corrective actions to resolve a D/NC condition. This entire discussion is out of place in Section 7.0. It should be moved to Appendix C.5, in it's entirety.

JK7-11) Section 7.3; 1st paragraph; 1st sentence- Should be reworded to read..." Any time, during the operability determination process associated with a D/NC condition, a licensee may decide to implement a compensatory measure..." This rewording clarifies the current wording " When evaluating the impact.." and puts this 'impact evaluation' into the context of 'actions to be taken' as part of the operability determination process.

JK7-12) Section 7.3; 1st paragraph; last sentence- Reword to read "....or to establish or restore SSCs to operable status". The terminology in this sentence and the 1st sentence of the 3rd paragraph NEED to be identical so that it is clear that there are only TWO types of compensatory measures addressed in this section. With the current wording "...or as an interim step when restoring SSCs to operable status" in this paragraph, it appears that there are three types of compensatory measures being discussed ,not two. 

JK7-13) Section 7.3; 2nd paragraph; last sentence- Delete this sentence as it is a restatement of the previous Section (7.2) and adds no specific value within the context of this paragraph.

JK7-14) Section 7.3; 2nd para.; 1st sentence. Reword as follows: "...usually implemented to restore plant operating margins (see Section 4.4) or reduce or eliminate operator work-arounds (e.g., remove hanging alarms)." This rewording recognizes the fact that, in addition to restoring plant operating margins, many compensatory measures are taken in response to Operations requests to remove/reduce 'work-arounds', caused by the degraded condition. 

JK7-15) Section 7.3; 3rd paragraph; 2nd sentence- Delete this sentence. The criteria and guidance for acceptable compensatory measures ,and in particular, involving use of operators is already contained in this Section and Appendix C.5. Using conditional' terms such as 'relatively simple' and 'minimal operator or plant impact' are not quantifiable and can be easily cause differences of opinion between an inspector and a licensee. 

JK7-16) Section 7.3; 3rd paragraph; last sentence-Reword to read "....Criteria and guidance, for the use of manual actions in place of automatic actions is, provided in Appendix C.5. This rewording provides a more definitive discussion on the use of the information in Appendix C.5. The current wording is passive, in that, the wording is not definitive as to how, and for what, Appendix C.5 is to be used.      

JK7-17) Section 7.3, 4th para.-  "The impact of comp. measures on the plant should be considered."    The NRC is mixing apples and oranges  here. The  technical evaluation of 'impact to the plant' should be made in accordance with the criteria / guidance in  Section C.5. This Section ( 7.3 ) discusses how to apply 50.59 to ONLY THOSE compensatory measures rising to the level of requiring a temporary procedure or facility change,  AFTER the technical 'impact' evaluation,  per Section C.5 ,  is completed. This section needs to be reworded to 'put the  technical 'impact ' evaluation before the '50.59 review' and also recognize that not ALL compensatory measures are reviewed under 50.59, only those compensatory measures involving a temporary procedure or facility change are required to be reviewed under 50.59. Many compensatory measures do not rise to the level of requiring a temporary procedure or facility change. This distinction needs to be made in this Section. 

JK7-18) Section 7.3, last para., last sentence - This end of this sentence should be re-worded as follows: "...or have other effects that should be reviewed".  Using the term 'evaluated' in the same sentence with 50.59 alludes to requiring a "50.59 Evaluation". This is NOT what is meant here. The existing language has the potential to be misunderstood and should be revised as suggested.

OTHER - 15) Page 15, Section 7.3  The third paragraph of this section is difficult to understand.  It should probably be re-written.  The paragraph seems to be saying that compensatory actions may be used to clear up the degraded or non-conforming condition, such that the component, with the compensatory actions in place,  would be operable, as opposed to just operable but degraded.

LG-2.
The RIS as written imposes additional requirements on compensatory actions to enhance safety as well as those that restore operability. I know of no regulatory basis for the additional requirements on voluntary actions that enhance safety, and the requirements could tend to discourage such safety improvements.

The guidance should recognize at least three compensatory action classifications compensation to restore operability, compensation to reduce safety significance and enhance safety or unit performance. The first two compensation classification should be within the RIS scope. I know of no regulatory basis to include the third classification within the RIS scope. 

Many licensees prefer to perform analysis of temporary alterations using 10 CFR 50.65(a)(4) instead of 10 CFR 50.59. Often the temporary alteration will support maintenance and restore operability. The requirement to apply 10 CFR 50.59 to all compensatory measures serves as a disincentive to licensees to implement compensatory actions that go beyond those needed to establish operability and the anticipated degraded on nonconforming condition duration.

The compensatory action discussion implies that all compensatory actions are inferior to the as licensed condition. This may be true in many cases, but there also may be many cases where the compensated configuration is fully equal or even superior to the as licensed condition from a nuclear safety perspective. Contrary to the RIS suggestion, compensatory actions may be taken because the situation can be improved through such actions or such actions are the logical action needed to support the corrective maintenance as well as compensate for the degradation. 

The regulatory needs related to compensatory actions are to assure licensees avoid using operability as a basis to ‘shortcut’ their normal change evaluation process and to clarify that the evaluation focus is on the effects of the compensatory actions, not the degraded or non-conforming condition. 

This example emphasize the importance of encouraging versus discouraging compensatory actions. A containment isolation valve in a line needed for unit production purposes but not for nuclear safety is slightly degraded with regards to its ability to change positions. The licensee could leave the valve shut and accept the production disadvantage or perhaps justify that the valve is operable but degraded. If the valve is left shut, they would need to revise a procedure. Under the proposed guidance, this would trigger a 10 CFR 50.59 screen. That could easily be more ‘hassle’ than the less conservative approach to perform an operability determination to leave the valve in service.

Recommended Change:

7.3 Compensatory Measures 

When evaluating the impact of a degraded or nonconforming condition on plant operation, a licensee may decide to implement a compensatory measure as an interim step to enhance the capability of SSCs until final corrective actions to resolve the conditions are completed. Compensatory measures may be considered when enhancing the status of SSCs that have been determined to be operable but degraded or nonconforming, or as an interim step when restoring 

SSCs to operable status. 

Compensatory measures for degraded or nonconforming conditions for SSCs that have been determined to be operable but degraded are usually implemented to restore plant operating margins (see Section 4.4). Compensatory measures may also be used to establish or restore SSCs to an operable status. A “ reasonable time frame” for completing corrective actions should be established in accordance with a licensee’s corrective action process as discussed in Section 7.2. Although compensatory actions may support additional corrective action process time by reducing the operability challenge safety significance, the compensatory action may also suggest a need for quicker corrective action. This is true Compensatory measures may also be used to establish or restore SSCs to an operable status. In general, these measures should be relatively simple to implement and have minimal operator or plant impact. In addition, the NRC expects that licensees will more quickly resolve degraded or nonconforming conditions using these compensatory measures. The reason for the greater emphasis is because reliance on such remedial measures suggests a greater degree of degradation, particularly if operator action is relied on in place of automatic actions. Use of manual actions in place of automatic actions is discussed further in Appendix C. 5 to this guidance. 

The impact of the compensatory measures themselves on the plant should be considered by licensees. The approved regulatory guidance (Regulatory Guide 1.187, endorsing NEI 96- 07, Revision 1) for implementing the revised 10 CFR 50.59 rule states: 

“If an interim compensatory action is taken to address the condition and involves a temporary procedure or facility change, 10 CFR 50.59 should be applied to the temporary change. The intent is to determine whether the temporary change/ compensatory action itself (not the degraded condition) impacts other aspects of the facility or procedures described in the UFSAR.” 

As discussed in the Regulatory Guide 1.187 endorsed guidance, another regulation may apply to the temporary procedure or facility change instead of or in addition to 10 CFR 50.59. For example a compensatory action that support maintenance and impacts a degraded condition may be evaluated under 10 CFR 50.65(a)(4) if the compensatory action will remain in effect for less than 90 days. 

In considering whether a compensatory measure may affect other aspects of the facility, a licensee should pay particular attention to ancillary aspects of the compensatory measure that may result from actions taken to compensate for the degraded condition. For example, a licensee may plan to close a valve as a compensatory measure to isolate a leak. Although that action would temporarily resolve the leaking condition, it may also affect flow distribution to other components or systems, complicate required operator responses to normal or off normal conditions, or have other effects that should be evaluated in accordance with 10 CFR 50.59 before the compensatory measures are implemented. 

OTHER - 16) Section 7.3 - Compensatory Measures
The following statement at the beginning of the 3rd paragraph appears to be incorrect "Compensatory measures may also be used to establish or restore SSCs to an operable status."


OTHER - 17) Section 7.4 - Final Corrective Action
The second paragraph in this section needs to reworded (confusing).

JK7-19) Section 7.4; the sentence " At this point, the licensee plans to make a change to the facility or procedures as described in the UFSAR"..is incorrect. This statement implies that any time the resolution of a degraded/nonconforming condition was anything other that full restoration to it's original design, that a 50.59 Evaluation is required because the change is a change to the facility or procedures as described in the UFSAR. This is obviously not the intent of this statement. A 50.59 screening, of the proposed change, determines if the change is a change to the facility or procedures as described in the UFSAR, thus requiring a 50.59 Evaluation to be performed. It is recommended that this sentence be deleted as it conveys the wrong intent of applying 50.59. 

JK7-20) Section 7.4; 1st para.- Delete the phrase.. ( with NRC approval, if required). This statement has no specific relevance to item #(2) in the context of this statement and is presented out of context. The determination of whether NRC approval is required or not is presented in the subsequent paragraphs of this section, where the application of 50.59 is discussed in detail.  

JK7-21) Section 7.4.1- The discussion and example provided are NOT in the context of the 'first situation discussed in Section 7.4 (i.e., Item (3) discussed in the 1st para of 7.4). Section 7.4.1 discusses, I believe, permanently leaving the degraded/nonconforming condition as-is and propose some other changes to the facility /procedures to permanently compensate for the as-is degraded /nonconforming condition. This entire section is convoluted logic and doesn't address the issue at hand (i.e., making a change in lieu of full restoration.). This section requires rework to properly address correcting a D/NC condition with a 'change' in lieu of full restoration.   Proposed changes to resolve issue: 1st sentence- Reword to read... "In the first situation, the licensee's proposed final resolution of the D/NC condition is to make facility / procedure changes to resolve the D/NC condition, in lieu of full restoration."  2nd Sentence- Delete this entire sentence. 3rd Sentence- reword to read...In this case the licensee must apply the 50.59 process to the proposed facility / procedure changes. 

JK7-22) Section 7.4.2- 1st sentence- reword to read- ' In the second situation the licensee proposes to 'accept as-is' the degraded or nonconforming condition". Deleting the phrase ' change to the CLB' is appropriate as 'accept as-is' dispositions of D/NC conditions does not always result in a change to the CLB. Also, The term 'degraded ' needs to be added to this sentence as 'accepting as-is' is just as appropriate to resolve degraded conditions as it is to resolve nonconforming conditions

Appendix A

OTHER - 18) Section A.3 - The reference to GL 87-02 might be a typo.

JK-S-9) Section A.2- 1st sentence- reword to read- " Many systems are designed to perform both normal operation (i.e,., specified functions) and specified safety functions".  Consistently utilizing terms from Section 3.5 helps provide clarity within the document.

Appendix B

JK-S-13) Section/Appendix B-(Maintenance)- This Appendix needs to address RIS 2001-09 (Hazard Barrier removal) as this RIS is specific to  dealing with and evaluating maintenance related temporary facility/procedure alterations. In fact, this Appendix needs to address the general subject of maintenance related temporary facility/procedure alterations and how these alterations need to be technically evaluated and risk assessed prior to installation.

OTHER - 19) Section B.1 - Does the industry support the following – failure probabilities in the PRA should be adjusted accordingly in order to justify the expectation of improved safety from the performance of maintenance????


JK-S-10) Section B.1; Last para., last sentence - The various plant modes, defining the term 'power operation', should be provided here, for clarity. Modes 1, 2 and 3, as defined in NUMARC 93-01, Section 11.3.2 ( 50.65 NRC endorsed guidance), as 'power operation'. These modes should be used/identified to clarify the intent/context of this paragraph as it relates to 50.59. 

JK-S-11) Section B.2; 2nd para.- NRC should reference their guidance document (i.e., NRC Inspection Manual; Part 9900- Technical Guidance; entitled "Maintenance- Voluntary Entry into Limiting Conditions for Operation Action Statements to perform Preventive Maintenance, currently dated 1/17/02)) here.  

JK-S-12) Section B.2, 2nd para. The term 'loss of function' should be defined / elaborated on so as to provide clarity and specific meaning to the term. An example of a 'loss of function', in context, would also be helpful. 

OTHER - 20) Page 23, second paragraph  Here intentional entries into action statements and LCO 3.0.3 are discussed.  In part it states:  "...the NRC does not recommend intentionally creating a loss of function situation or entering LCO 3.0.3 simply for operational convenience."  

It would be helpful if NRC worked with the industry in developing a definition for operational convenience.


OTHER - 21) Section B.4 - Does the industry support the guidance in this section???????


Appendix C

JK-S-14) Section/Appendix C- NRC should, in this Appendix, address crediting/not crediting non-safety related SSCs (i.e., SSCs that have no specified safety function) to support operability determinations of SSCs covered by this RIS (i.e., Section 1.0). There have been a number of licensees who have credited NSR equipment to support operability that the NRC has challenged. It is a subject worthy of a specific discussion.

JK-S-15) Section C.4 - Another condition, where an analytical method may be used to support operability, needs to be presented . The situation where no existing method of evaluation/analytical method is currently used / within the licensee's CLB, however due to a D/NC condition, a new method is found that's applicable to the situation and can be shown to be applicable to the situation. This new method should be permissible, as part of the operability determination.  

JK-S-16) Section C.4- The 'analyses of interest', discussed in Section C.4 should be only those analyses that meet the NEI 96-07, Rev.1 definition/description of 'Methods of Evaluation'. Other analytical methods, that do not meet this threshold should into be subjected to the conditions specified in this section. This section should be revised to reflect this criteria. 

OTHER - 22) Section C.4 - Given the guidance in section C.14, this section should more clearly support the use of alternative analysis in degraded but operable determinations.

JK-S-17) Section C.7- There are two major issue associated with EQ Deficiencies, namely:

A) The requirement to write a JCO, as if it's something other than/more than the prompt operability determination. The text in section C.7, identifies THREE distinct things needed for EQ deficiencies:

Prompt determination of operability, This 1st Action is NOT specific to EQ deficiencies. Section 5.0 discusses, at length, how to go about performing and documenting a prompt operability determination. Why is it necessary to repeat 'the obvious' in Section C.7 ?

A plan with a reasonable schedule for corrective action This 2nd Action is NOT specific to EQ deficiencies either. Section 7.0 discusses, at length, how to go about implementing corrective actions within a reasonable schedule. Why is it necessary to repeat 'the obvious' in Section C.7 ?

Write a JCO. This 3rd action in actually a combination of actions 1 and 2 above, however it is presented, in this section, as something different than/more than actions 1 and 2. What's the purpose of this 3rd action, other than creating confusion? Isn't performing actions 1 and 2 above, for ANY deficiency, including EQ, sufficient? This type of confusing language causes major licensee headaches and misunderstandings during NRC inspections when inspectors ask to see documents such as JCOs. The Licensee shows them their 'prompt operability determination' and 'plan to correct the deficiency'. The inspector then asks to see the EQ JCO, as if there is some other document the licensee must produce. As you can see, leaving language about 'writing a JCO' in this document will cause unnecessary confusion and licensee work in the future. This is why references to continued use of G/L 88-07 needs to be removed.

B) The other major issue is the language in Section C.7 that says .."The licensee should also show that subsequent failure of the equipment will not result in significant degradation of any specified safety function or give misleading information to the operator" 

This language is misleading and again confusing, as it relates to 'operability' as we know it post G/L 91-18. This language is requiring a licensee to assume failure of the EQ equipment that the licensee just determined was operable, by completing an operability determination for. How convoluted is this logic?

Section 5.0 doesn't require or discuss 'assuming such a failure' for other types of deficiencies. If the prompt determination process concludes that the equipment is operable, then the equipment is operable. End of story. Why does EQ have additional requirements to meet?

If the licensee completed an operability determination, this means the licensee has high confidence that the EQ equipment will able to perform its specified safety function, with the EQ deficiency. This should be the end of the story.

Why is the licensee then asked to assume the 'operable' EQ equipment subsequently fails and determine if any safety function is degraded! If the licensee has to assume this failure, of course safety functions will be degraded. This is why the licensee performed the operability determination in the first place.

This is 'dated' language that pre-dates 91-18 guidance. In today's post-91-18 world, this antiquated language again is fodder for inspectors to ask for documentation that 'make no sense' today. I'm sure this language had a place and purpose back in 1988, but it only serves to confuse and prompt additional unnecessary licensee work today. Again, please remove it. If nothing else, allow the licensee the option of using either G/L88-07 or RIS 2004-xxx, which ever he chooses, for dealing with EQ Deficiencies.

JK-S-18) Section C.9; 5th para, dealing with RIS 2001-09.- This RIS discussion is out of place here. Since the RIS deals with maintenance related barrier removal and control, this discussion needs to be relocated to Appendix B and expanded (see comment #13 above).  

LG-3.
Although previously stated as being ‘off limits’ for changes, the PRA discussion reveals some inconsistencies within the draft RIS. The guidance should correct this and take the opportunity to recognize potential valuable probabilistically based analysis. 

This section raises several concerns:

a.
The statement that “the inherent assumption is that the occurrence conditions or events exists and that the safety function can be performed.” Conflicts with accepted practice and examples in the draft RIS.

Section C.9 “Support System Operability” states “a ventilation system … may not be required in the winter” and “the electrical power supply for heat tracing … may not be required in the summer.” In practice this concept has also been applied to other weather related events such as hurricanes, tornadoes and flooding. My two concerns are the conflict and the prohibition on use of PRA when making such decisions. 

A responsible licensee taking credit for the external temperature to support an operability determination will likely be able to calculate the external temperature at which operability is called into question. To avoid relying on operators to detect the unacceptable temperature condition and declare the support system inoperable, the licensee desires assurance that during the anticipated degraded condition, the temperature will not reach the unacceptable temperature. Such analysis will very likely include probabilistic techniques. This would be using probability of occurrence of an external event.

b.
Use of PRA should be encouraged for some operability related decisions.

If the degraded component would tend to increase the probability of an accident if it failed, quantifying the increased accident probability should be encouraged versus prohibited. Lacking specific criteria for such operability situations, a calculated result that would meet the 10 CFR 50.59 criteria for increased accident frequency should be free from a challenge to their use of engineering judgment supported by a calculation. 

The use of the broad term ‘decisions’ versus narrower ‘determinations’ implies that it would be unacceptable for a licensed operator or unit management to even ask or in any way discuss a statistical issue related to a decision when reviewing an operability determination. 

c.
Although the time limits for completing operability determinations often will not support detailed probabilistic-based analysis, having some link to probabilistic based criteria can help support engineering judgment. For example, a 10 CFR 50.59 criterion considers a component change ‘less than minimal’ if the component failure likelihood increase is less than doubled. When evaluating reliability challenges in operability determinations, the engineering judgment on the failure likelihood increase should be permitted to refer to this criterion without fear that the determination will be challenged for using probability. For example, it could conclude that the increase in failure likelihood would be much less than doubled and could easily pass criteria for being left permanently at the higher failure rate. 

Recommended change:

C. 6 Use of Probabilistic Risk Assessment in Operability Decisions 

Probabilistic risk assessment ( PRA) is a valuable tool for the relative evaluation of accident scenarios while considering, among other things, the probabilities of occurrence of accidents or external events. The definition of operability states, however, that the SSC must be capable of performing its specified safety function( s). The inherent assumption is that the occurrence conditions or event exists and that the safety function can be performed. The use of PRA or probabilities of the occurrence of accidents or external events is not acceptable for making operability decisions. The use of PRA or probabilistic approaches to determine the probabilities of the occurrence of accidents or external events during a period when an SSC’s operability is challenged has limited applicability for making operability decisions.

Acceptable use of probabilistic approaches include:

· Quantifying potential accident frequency increases due to a degraded or nonconforming SSC. 

· Determining the increased failure likelihood for SSCs at risk of increased failure. 

When determining potential accident frequencies and malfunction likelihoods the no more than minimal criteria from NEI 96-07, Revision 1, may be used, however, the anticipated operability challenge duration may not be considered.

· Determining the likelihood of external events such as highest temperature or tornado likelihood during the degraded or nonconforming period.
However, PRA may provide valid and useful supportive information for a license amendment as part of corrective actions. The PRA is also useful for determining the safety significance of SSCs. The safety significance, whether determined by PRA or other analyses, is a necessary factor in decisions on the appropriate " timeliness" of operability determinations. Specific guidance on the timeliness of determinations is presented in Section 5.2. 

OTHER - 23) Section C.6 - Does PRA have any role in degraded but operable determinations???   Based on the guidance here it appears PRA is not a part of degraded but operable determinations.


OTHER - 24) Page 30, section C.9 The following statements are made - "...the specified completion time to restore a support system to operable status...should be equal to or less than the restoration completion time for any system that requires the support system function for its own operability".  "While such inconsistencies are being resolved, the more restrictive restoration time should be used".

The last sentence mentioned here should be stricken or perhaps clarified.  The TS should be followed strictly unless there is confirmation of a non-conservatism. The TS, particularly the standard, has received rigorous review by the utilities and the NRC.  A suspected inconsistency should not be enough to force an informal modification of  the TS.

JK-S-19) Section C.14-(addressing the use of AST in operability evals.) It would be helpful for the NRC, in Section C.14, to specifically explain how they applied the general criteria (i.e., (1), (2) or (3)),  from Section C.4 to Section C.14, arriving at the conclusion  that AST can be used for operability determinations.

